EarthCam Webcam Technology                                                                  ConstructionCam Lite Security 
A&E Specifications                                                                                                                Robotic System


EARTHCAM CONSTRUCTIONCAM LITE SECURITY SYSTEM
PART 2 -  PRODUCT 

2.01 MANUFACTURER

A. EarthCam, Inc.

800.EarthCam (327.8422) toll free

201.488.1111 voice

201.488.1119 fax

84 Kennedy Street,

Hackensack, NJ 07601.

www.EarthCam.net[image: image1.jpg]e

EarthCam




2.02 SYSTEM REQUIRMENTS

A. The indoor/outdoor camera system shall consist of a weather resistant engineered plastic Upper Dome and Live Streaming Video Camera with aluminum wall mounting bracket to be mounted as a fixed pole, wall, parapet or non-penetrating roof. The camera system shall include a Video Encoder built into an All Weather Enclosure.

B. The camera shall have the ability to take digital still images every 5 or 60 minutes, depending on service package, as well as provide live video.
C. The camera shall upload both images and video over a wireless cellular modem, a wireless point-to-point system or a RJ-45 hardwired connection to a DSL or cable modem.
D. The content shall be sent to a secure, password protected website with an Interface and Online Software features provided by the Vendor as a Managed Service.
E. The system shall operate on 24VAC and have a maximum power consumption of 55W.
2.03 EQUIPMENT

A. Robotic Camera: P/T/Z network Camera, all weather dome housing and lens assembly consisting of a charge coupled device (CCD) camera with a remotely controlled focal lens with the following features:
B. Camera shall have:

1. Imager: 1/4” ExView HAD CCD.

2. Resolution: 704x576.

3. Sensitivity: 0.3lux at F/1.4, 30IRE, B/W .005lux at 30IRE.

4. Lens: 4.1mm – 73.8mm, Zoom: 18x optical, 12x digital, F1.3 – F1.4.

5. Frame Rate: 30/25 fps, Video compression: JPEG and MPEG4.

6. Video streaming: Simultaneous MPEG-4 and Motion JPEG.

7. Auto Focus, auto day/night.
8. Pan range: +170º to -170º, 100º/sec.
9. Tilt range: -30º to 90º, 90º/sec.
10. Two way audio.

11. Communication: 10BASE-T/100BASE-TX Ethernet.

12. Alarm input.

13. IP Addressing: Dynamic or static.

14. Cable entry through access channel in mounting bracket.

15. Built in thermostatically controlled heater.

16. - 20°F to + 120°F (- 28.8°C to + 48.8°C)
17. Dimensions: 14.7” H x 8.2” W x 14.5” D (37.4cm H x 20.8xm W x 36.9cm D).

18. Weight: 11 lbs (4.99 kg).

19. Designed For "EarthCam Control Center - Streaming Edition - Robotic with Mobile Support" software
C. All weather enclosure shall have 

1. Nema 4x steel enclosure with steel back plate and locking hardware.

2. Cable entry via UL rated Compression glands.

3. Mounting Tabs.

4. Dimensions: 12”H x 8”W x 6”D (30.4cm x 20.32cm x 15.24cm).

5. Weight 15lbs (6.8Kgs).

6. Operates on 120VAC / 230VAC 50/60hz available.

7. Power output: 24VAC @ 100W
2.04 INTERFACE AND ONLINE SOFTWARE 

A. Remote Access: Contractor’s system vendor shall provide an internet based interface and online software as a managed service, to allow the viewing of all high-definition digital still images captured and stored from any location with internet access via a secure password protected website.

1. Maintain images on the system vendor’s website for reference available at all times during the life of the project and for not less than 60 days after completion.

B. Online interface features shall be:

1. Software delivered by vendor as a managed service.

2. Displays company logo and project name.

3. Capable of viewing live video.

4. Robotic Pan, Tilt, Zoom control of camera system.

5. Picture in Picture to view live video, while viewing high definition images.
6. Calendar based navigation system for selecting specific images.

7. Multifunction image browsing.

8. Pan, Tilt, Zoom capability within a high definition image.

9. Onscreen control button for wiper control to allow remote cleaning of the viewing window.

10. A multiview screen to view all of the cameras on a project at the same time.

11. Graphical mark-up tools for detailing and creating overlays on images.

12. Graphical weather applet displaying ten points of local weather data and 48-hour forecast.

13. Remote solar monitoring screen displaying the DC amperage output of solar panels.

14. Remote battery monitoring screen displaying battery voltage, temperature and status.

15. Remote cellular monitoring screen displaying connectivity, network traffic and modem temperature.

16. Remote wireless radio monitoring screen displaying connectivity, network traffic and Google Map features including wireless radio locations.

17. Share image tools: save, print, email and post to message board or mobile devices.

18. Automated progress reports in Power Point, Open Office and PDF formats.

19. Map, aerial and satellite view by Google.

20. Time lapse features include – Instant time lapse play back by day, week, month or year.

21. Machine to machine self-healing technology that automates maintenance of camera up to 288 times daily.

22. Account security features include – Four levels of password protection, IP address block/ permission and SSL protection of the user login password.

23. All images are the copyright of the client and protected on secure servers owned and operated by the system vendor.
PART 3 -  EXECUTION

3.01 preparatioN

A. Unpack camera system neatly. Save packing materials for future shipment of camera system and accessories to Owner or Manufacturer as needed.
3.02 INSTALLATION

A. General:

1. Install camera system following with manufacturer's included instructions, Observe all State and Municipal code and regulations.

2. Install cameras precisely making sure they are plumb, level and at the recommended angle for maximum field of view of operations.

3. Anchor product in place securely making certain there is no movement.

4. Connect cameras to power.

B. Position camera to cover site field of view at approximately 51º horizontal and 39º.
1. Install camera at an elevation for maximum, unobstructed view of site.

2. Make certain the camera location and position prevents any direct light source lens contact for both sunlight and electrically powered light in the field of view through the entire construction period.

3.03 FIELD QUALITY CONTROL

A. Pre-installation Testing: Test camera on-site at ground level prior to mounting unit in its intended   elevated position.

1. Contact the system vendor no less than 24 hours in advance of installation for testing.

2. Connect unit.

3. After 30 minutes, contact the system vendor and require system vendor to remotely confirm camera is operating properly.

4. Complete camera installation as designed in plan..
3.04 CLEANING

A. Follow manufacturer’s written recommendations for cleaning cameras.
B. Be sure to clean lenses and all components, including camera-housing windows, and monitor screens or contact System Vendor for professional on-site cleaning and maintenance check.
3.05 INSTRUCTION

A. Contact EarthCam directly by phone to instruct Contractors personnel for instructions on approved methods of adjusting camera equipment.
1. Instruct personnel on all aspects of maintaining equipment and troubleshooting procedures of determining optimum alignment and adjustment of components.
3.06 OPERATION, TERMINATION, AND REMOVAL

A. Maintenance: Camera equipment maintained in good operating condition on a 24/7 throughout contract until removal.

B. Termination and Removal: Camera system removed at the request of the request of the owner when requested. 

C. Camera system including physical accessories and mounting equipment remain the Owners property.
END OF SECTION


© 2010 EarthCam, Inc
 Page 2 of 3                                         
06.16.10


