[image: image1.jpg]


[image: image2.wmf] 

[image: image3.jpg]q)



 
ConstructionCam Lite Security

Indoor/outdoor robotic webcam system is ideal for remote monitoring and surveillance applications under low light conditions. Best balance of performance and price.

[image: image4.jpg]



[image: image5.wmf] 



       


EarthCam ConstructionCam Lite Security Specification   
       A&E Short Form*

1. Physical
Dimensions: 14.7” H x 8.2” W x 14.5” D (37.4cm H x 20.8xm W x 36.9cm D)

Weight: 11lbs (4.99kg)

2. Environmental

Operation Temperature: - 20° F to + 120° F (- 28.8° C to + 48.8° C)
Thermostatically Controlled Heater and Defroster

3. Construction
Engineered Plastic Upper Dome with Aluminum Wall Mounting Bracket and High-impact UV Protected Polycarbonate Lower Dome

4. Camera 

Imager: 1/4" CCD, Sensitivity: 0.3lux at F/1.4, 30IRE, B/W .005lux at 30IRE

Video Compression: Motion JPEG and MPEG-4, Frame Rate: 25/30fps 

Video Streaming: Simultaneous MPEG-4 and Motion JPEG

Resolution: 704 x 576 

Alarm Input, Two Way Audio

Lens: F-Stop: F/1.3 – F/3.0, Motorized Zoom: 4.1mm – 73.8mm, 18x Optical, F1.3 – F1.4

Pan Tilt: Pan Range: +170º to -170º, Tilt range: -30º -90º, 90º/sec
Communication: 10base-T/100base-TX Ethernet, IP Addressing: Dynamic or Static

Designed For "EarthCam Control Center - Streaming Edition - Robotic with Mobile Support" Software

5. Electrical
Operational Voltage: 120VAC (230VAC Available), Power Consumption: 55W

6. Interface and Online Software Features
Software Delivered by Vendor as a Managed Service

Displays Company Logo and Project Name

Capable of Viewing Actual Live Video
Robotic Pan, Tilt, Zoom Control of Camera System
Picture in Picture to View Live Video, While Viewing High Definition Images

Calendar Based Navigation System for Selecting Specific Images

Multifunction Image Browsing 

Pan, Tilt and Zoom Capability within a High Definition Image

Onscreen Control Button for Wiper Control to Allow Remote Cleaning of the Viewing Window

A Multiview Screen to View All Cameras on Project at the Same Time

Graphical Mark-Up Tools for Detailing and Creating Overlays on Images

Graphical Weather Applet Displaying Ten Points of Local Weather Data and 48-hour Forecast 

Remote Solar Monitoring Screen Displaying the DC Amperage Output of Solar Panels

Remote Battery Monitoring Screen Displaying Battery Voltage, Temperature and Status

Remote Cellular Monitoring Screen Displaying Connectivity, Network Traffic and Modem Temperature

Remote Wireless Radio Monitoring Screen Displaying Connectivity, Network Traffic and 

Google Map Features Including Wireless Radio Locations

Share Image Tools: Save, Print, Email and Post to Message board or Mobile Devices

Automated Progress Report in PowerPoint, Open Office and PDF Formats

Map, Aerial and Satellite View by Google

Time-Lapse Feature Includes – Instant Time-Lapse Play Back by Day, Week, Month or Year

Machine to Machine Self-Healing Technology Automates Maintenance of Camera Up to 288 Times Daily

Account Security Features Include – Four Levels of Password Protection, IP Address Block/ Permission and SSL Protection of User Login Password

All Images are the Copyright of the Client and Protected on Secure Servers Owned and Operated by the System Vendor
Product Features





This system features two-way audio support with auto focus that


allows viewing of distant objects with sharp detail.





· All weather dome housing with heater and fan


· Colorful and crisp streaming video


· Pan angle of 340 degrees


· 18x optical, 12x digital zoom 


· 0.005 lux minimum illumination


· Automatic day and night function


· Two-way audio and video output functionality


· Built-in video motion detection


· Programmable preset positions


· Motion JPEG and MPEG-4 video streams


· Fast, dependable, solid state Linux system


· Fully assembled








�





� EMBED Word.Picture.8  ���





�











�





Architectural & Engineering Specifications


Product:  ECCS05103


 Revised:  06-01-2010





DOWNLOAD ELECTRONIC VERSION OF THIS SPECS





� HYPERLINK "http://www.earthcam.net/aespecs/trafficdatasensor" ��http://www.earthcam.net/aespecs/cclitesecurity�





For additional EarthCam A&E specs visit: � HYPERLINK "http://www.earthcam.net/aespecs/systems" ��http://www.earthcam.net/aespecs/systems�








*Visit EarthCam.net for the full version of this A&E specification.                           6/01 ©2010 EarthCam, Inc.

84 Kennedy Street,  Hackensack,   NJ  07601  USA      Ph.  201.488.1111     Fax.  201.488.1119     info@earthcam.net

_1310282618.doc
[image: image1.jpg]Q EarthCam

== Webcam Technology







