EarthCam Webcam Technology                                                                 ConstructionCam Lite Wireless
A&E Specifications                                                                                                                Robotic System


section 01 32 34.01 – EARTHCAM CONSTRUCTIONCAM LITE WIRELESS
PART 2 -  PRODUCT 

2.01 MANUFACTURER

A. EarthCam, Inc.

800.EarthCam (327.8422) toll free

201.488.1111 voice

201.488.1119 fax

84 Kennedy Street,

Hackensack, NJ 07601.

www.EarthCam.net[image: image1.jpg]e

EarthCam




2.02 SYSTEM REQUIRMENTS

A. The indoor/outdoor camera system shall consist of a weather resistant engineered plastic upper dome with aluminum wall mounting bracket and high-impact UV Protected polycarbonate lower dome to be mount as a fixed pole, wall, parapet or non-penetrating roof.

B. Cable entry through access channel in mounting bracket.

C. The camera shall have the ability to take digital still images every 5 or 60 minutes, depending on service package, as well as provide live video.
D. The camera shall upload the still images over a wireless link to a hardwired DSL or cable modem.

E. The content shall be sent to a secure, password protected website with an Interface and Online Software features provided by the vendors as a Managed Service.

F. The system will operate on 120VAC (230VAC available) and have a maximum power consumption of 55W.

2.03 EQUIPMENT

A. Robotic Camera: Integrated robotic camera and lens assembly consisting of a charge coupled device (CCD) camera with a remotely controlled focal length lens with the following features:

1. Imager: 1/4” CCD.

2. Resolution: 704 x 576 pixels.

3. Minimum illumination: 0.3 lux (color mode), 0.006 lux (black/white) at F1.4, 30IRE. 

4. Pan range: +170º to -170º.

5. Tilt range: -30º to -90º.

6. Lens: F/1.3 – F/3.0.

7. Zoom: 4.1mm – 73.8mm, 18x optical, 12x digital.

8. Video compression: Motion JPEG and MPEG-4.

9. Image Settings: Day/night, white balance, back light compensation, contrast, brightness.

10. Communication: 10BASE-T/100BASE-TX Ethernet.

11. Thermostatically controlled heater.

12. Operation temperature: -20°F to +120°F (-29°C to +49°C).
13. IP Addressing: Dynamic or Static.

14. Dimensions: 14.7” H x 8.2” W x 14.5” D.

15. Weight: 11.9 lbs (5.4 kg).
B. Wireless device:

1. RF transmission rate: 1.5 Mb/s.

2. Throughput: 935 Kb/s.

3. Radio channels: 12 Non-overlapping.

C. Frequency select: Automatic or manual. Designed for the “EarthCam Control Center - Streaming Video Edition - Robotic with Mobile Support” software.  

D. All Weather Electronics Enclosure:

1. Nema 4x steel enclosure with steel back plate and locking hardware.

2. Cable entry via UL rated Compression glands.

3. Mounting Tabs.

4. Dimensions 12”H x 8”W x 6”D (30.4cm x 20.32cm x 15.24cm).

5. Weight 15lbs (6.8Kgs).

6. Operates on 120VAC / 230VAC 50/60hz available.

7. Power output: 24VAC @ 100W.

E. Data Connection: Provide one of the following:

1. In areas with cellular coverage, operate cameras via built-in cellular data connection provided and maintained by the system vendor.

2. Broadband or satellite Internet access provided and maintained by the contractor.
2.04 INTERFACE AND ONLINE SOFTWARE 

A. Remote Access: Contractor’s system vendor shall provide an internet based interface and online software as a managed service, to allow the viewing of all high-definition digital still images captured and stored from any location with internet access via a secure password protected website.

1. Maintain images on the system vendor’s website for reference available at all times during the life of the project and for not less than 60 days after completion.

2. All images will be protected on servers owned and operated by the system vendor and located in secure area at the system vendor’s location.

B. Online interface features shall be:

1. Software delivered by vendor as a managed service.

2. Displays company logo and project name.

3. Capable of viewing live video.

4. Robotic Pan, Tilt, Zoom control of camera system.
5. Picture in Picture to view live video, while viewing high definition images.
6. Calendar based navigation system for selecting specific images.

7. Multifunction image browsing.

8. Pan, Tilt, Zoom capability within a high definition image.

9. Onscreen control button for wiper control to allow remote cleaning of the viewing window.

10. A multiview screen to view all of the cameras on a project at the same time.

11. Graphical mark-up tools for detailing and creating overlays on images.

12. Graphical weather applet displaying ten points of local weather data and 48-hour forecast.

13. Remote solar monitoring screen displaying the DC amperage output of solar panels.

14. Remote battery monitoring screen displaying battery voltage, temperature and status.

15. Remote cellular monitoring screen displaying connectivity, network traffic and modem temperature.

16. Remote wireless radio monitoring screen displaying connectivity, network traffic and Google Map features including wireless radio locations.

17. Share image tools: save, print, email and post to message board or mobile devices.

18. Automated progress reports in Power Point, Open Office and PDF formats.

19. Map, aerial and satellite view by Google.

20. Time lapse features include – Instant time lapse play back by day, week, month or year.

21. Machine to machine self-healing technology that automates maintenance of camera up to 288 times daily.

22. Account security features include – Four levels of password protection, IP address block/ permission and SSL protection of the user login password.

23. All images are the copyright of the client and protected on secure servers owned and operated by the system vendor.
PART 3 -  EXECUTION

3.01 PREPARATION

A. Unpack camera system components and save packing materials (box and foam) for future shipment of camera system including associated appurtenances and mounting equipment to Owner or Manufacturer as required.

3.02 INSTALLATION

A. General:

1. Install camera system in accordance with manufacturer's printed instructions, State and Municipality codes and requirements and approved submittals.

2. Install units plumb and level and at proper angle to provide maximum field of view of on-site operations.

3. Securely and rigidly anchor products in place.

4. Connect cameras to power.

B. Position camera so that field of view of approximately 55º horizontal and 41º vertical covers intended area of site.

1. Install camera at elevation that will provide uncompromised visual coverage.

2. Install camera so that the sun or any man made light sources will not be in the direct field of view of the camera at any time during construction.

3.03 FIELD QUALITY CONTROL

A. Pre-installation Testing: Test camera on-site at ground level prior to mounting unit in its intended   elevated position.

1. Contact the system vendor not less than 24 hours in advance of installation for testing.

2. Connect unit.

3. After 30 minutes, contact the system vendor and require system vendor to remotely confirm camera is operating properly.

4. Install cameras in approved locations.

3.04 CLEANING

A. Clean installed items using methods and materials recommended in writing by manufacturer.

B. Clean camera system components, including camera-housing windows, lenses, and monitor screens.

3.05 INSTRUCTION

A. Engage a factory-authorized service representative by phone to instruct contractor’s personnel in    procedures to adjust and maintain camera equipment.

1. Instruct personnel on procedures and schedules for troubleshooting and maintaining equipment.

2. Explain methods of determining optimum alignment and adjustment of components.

3.06 OPERATION, TERMINATION, AND REMOVAL

A. Maintenance: Maintain camera equipment in good operating condition on a 24-hour basis until removal.

B. Termination and Removal: Removal of camera system when instructed by the owner. 

1. Camera system including associated appurtenances and mounting equipment are property of Owner.

END OF SECTION



© 2011 EarthCam, Inc
 Page 1 of 3                                         
01.28.11

