[image: image1.jpg]


[image: image2.wmf] 

[image: image3.wmf] 

 
Security DomeCam Pressurized

Monitor and protect your property with the most advanced, IP Pan/Tilt/Zoom robotic

dome security camera system.

[image: image4.jpg]


[image: image5.wmf] 



    
EarthCam Security DomeCam Pressurized Specification                       A&E Short Form*

1. Physical
Dimensions: 5.9” (15cm) Dome, 11.63” (29.5cm) overall length by 10.5” (26.7cm) diameter

Weight: 16.8lbs (7.6Kg). 
2. Environmental
Operation Temperature: - 40° F to + 122° F (- 40° C to + 50° C)

Thermostatically Controlled Heater and Defroster

3. Construction
Aluminum thermo plastic dome and acrylic bubble

4. Camera
Imager: 1/4" CCD, Sensitivity: 0.05 Lux 

Video Compression: Motion JPEG and MPEG4, Frames Per Second: 30fps at 4CIF

Resolution: 768 x 494 NTSC, 752 x 582 PAL

Pressure: 5 PSI

Presets: 128 Positions

Lens: F-Stop: F/1.4, Motorized Zoom: 4mm – 64mm, 16x Optical 8x Digital

Auto Features: Iris, Focus, White Balance, Backlight Compensation, Day/Night Function, And Electronic Image Stabilization

Pan Tilt: Pan Range: 360º

Communication: 10base-T/100base-TX Ethernet, IP Addressing: Dynamic or Static

Designed For "EarthCam Control Center - Streaming Edition - Robotic with Mobile Support" Software

5. Electrical
Operational Voltage: 24VDC 68Watts Peak

6. Interface and Online Software Features
Software Delivered by Vendor as a Managed Service

Displays Company Logo and Project Name

Capable of Viewing Actual Live Video

Robotic Pan, Tilt, Zoom Control of Camera System

Calendar Based Navigation System for Selecting Specific Images 

Multifunction Image Browsing

Pan, Tilt and Zoom Capability within a High Definition Image

A Multiview Screen to View All Cameras on Project at the Same Time

Graphical Mark-Up Tools for Detailing and Creating Overlays on Images

Graphical Weather Applet Displaying Ten Points of Local Weather Data and 48-hour Forecast 

Remote Solar Monitoring Screen Displaying the DC Amperage Output of Solar Panels

Remote Battery Monitoring Screen Displaying Battery Voltage, Temperature and Status

Remote Cellular Monitoring Screen Displaying Connectivity, Network Traffic and Modem Temperature

Remote Wireless Radio Monitoring Screen Displaying Connectivity, Network Traffic and 

Google Map Features Including Wireless Radio Locations

Share Image Tools: Save, Print, Email and Post to Message Board or Mobile Devices

Automated Progress Report in PowerPoint, Open Office and PDF Formats

Map, Aerial and Satellite View by Google

Time-Lapse Feature Includes – Instant Time-Lapse Play Back by Day, Week, Month or Year

Machine to Machine Self-Healing Technology Automates Maintenance of Camera Up to 288 Times Daily

Account Management Tools Include – Four Levels of Password Protection, IP Address Block/ Permission and SSL Protection of User Login Password

All Images are the Copyright of the Client and Protected on Secure Servers Owned and Operated by the 

System Vendor

Product Features





Outdoor robotic camera system is ideal for remote monitoring


and surveillance applications under low light conditions.





· Pressurized to 5 psig


· Sensors for temperature, pressure and dew point


· Environmental status display


· On-screen alert modes


· On-screen programmable menus


· Built-in back box memory


· 2 auxiliary outputs and 7 alarm inputs


· Stainless steel construction


· Fast, dependable, solid state Linux system


· Fully assembled








�





� EMBED Word.Picture.8  ���





� EMBED Word.Picture.8  ���











�





Architectural & Engineering Specifications


    Product:  ECCS04105


Revised:  06-10-2010





DOWNLOAD ELECTRONIC VERSION OF THIS SPECS





� HYPERLINK " http://www.earthcam.net/aespecs/securitydomecampressurized" �� http://www.earthcam.net/aespecs/securitydomecampressurized�





For additional EarthCam A&E specs visit: � HYPERLINK "http://www.earthcam.net/aespecs/systems" ��http://www.earthcam.net/aespecs/systems�








*Visit EarthCam.net for the full version of this A&E specification.                        6/10 ©2010 EarthCam, Inc
84 Kennedy Street,  Hackensack,   NJ  07601  USA      Ph.  201.488.1111     Fax.  201.488.1119     info@earthcam.net

_1310282618.doc
[image: image1.jpg]Q EarthCam

== Webcam Technology







_1315998071.doc


[image: image1.png]





_1315998057.psd




