EarthCam Webcam Technology                                                                                                    TrafficCam
A&E Specifications                                                                                                                Robotic System


EARTHCAM TRAFFICCAM

PART 2 -  PRODUCT 

2.01 MANUFACTURER

A. EarthCam, Inc.

800.EarthCam (327.8422) toll free

201.488.1111 voice

201.488.1119 fax

84 Kennedy Street,

Hackensack, NJ 07601.

www.EarthCam.net[image: image1.jpg]e

EarthCam




2.02 SYSTEM REQUIRMENTS

A. The outdoor video camera system shall consist of Die-cast, extruded and sheet aluminum powder coated all in one housing and heavy-duty construction grade Pan/Tilt, to be mounted as a fixed pole or wall, parapet or non-parapet roof mount.

B. The camera system shall include a Video Encoder built into an All Weather Enclosure.

C. The camera shall have the ability to take digital still images every 5 or 60 minutes, depending on service package, as well as provide live video.
D. The camera shall upload the still images over a wireless cellular modem, a wireless point-to-point system or a RJ-45 hardware connection to a DSL or cable modem.

E. The content shall be sent to servers owned and maintained by the vendor.

F. The servers shall be located in a secure area at the system vendor’s location.

G. Images shall be accessible by password protected website with an interface and online software features provided by the vendor as a managed service.

H. The system shall operate on 120VAC (230VAC Available) voltage and have a maximum power consumption of 80W.
2.03 EQUIPMENT

A. Heavy Duty Robotic Pan/Tilt Video Camera shall be an integrated camera and lens assembly consisting of a charge coupled device (CCD) camera with a remotely controlled focal length lens mounted as a permanent module. 

B. Camera shall have:

1. Die cast, extruded and sheet aluminum powder coated all in one housing and Pan/Tilt.

2. 0.23 inch thick optically clear tempered glass. 

3. Stainless steel locking hardware allowing for use of padlocks.

4. Imager: 1/4” Progressive CCD.

5. Resolution: 540 TV lines NTSC and PAL.

6. Lens: F/1.4, 3.4mm – 119mm.

7. Sensitivity: .55 lux @ 1/60 Sec Shutter (Color), .062 lux @ 1/4 Sec Shutter (Color), .00018 lux  1/2 Sec Shutter (B/W).

8. Lens: Zoom: 35x optical, 12x digital.

9. Auto features: Iris, Focus and White balance.

10. Integrated electronics image stabilization.

11. Pan range: 360º continuous rotation.

12. Tilt rage: +33º to –83º.

13. Day or night operation.

14. Electronic image stabilization.

15. Spring assist lid.

16. Remotely controllable windshield wiper.

17. Operating Temperature: - 50ºF to +122ºF (- 45ºC to + 50ºC).

18. Thermostatically controlled heater and defroster.

19. Dimensions: 17.45” H x 7.7” W x 13.3” D (44.3cm H x 19.56cm W x 13.78cm D).

20. Weight: 21lbs (9.5 kg).

C. All weather enclosure shall have 

1. Nema 4x molded fiberglass polyester.

2. Corrosion resistant stainless steel hardware, back plate and locking latches. 

3. Brass insert molded and mounting tabs.

D. Video Encoder:  Single channel video encoder compatible with EarthCam systems.

1. Multi User Level Password Protection for Restricted Camera Access.

2. Events Triggered by Motion Detection, External Inputs or Schedule. 

3. Alarm Notification: E-mail, TCP, and HTTP.

4. Compatible with most versions of Internet Explorer, Firefox and Safari.

5. Video Compression: Motion JPEG, MPEG.

6. Maximum Resolution: 768 x 576.

7. Frames Per Second: 30.
8. IP Addressing: Dynamic or Static.
9. Communication: DSL, Cable Modem, T-1, Wireless ISP, EV-DO Rev-A or LAN Available.
10. Dimensions 14.55" H x12.55" W x8.31" D (37cm H x31.9cm W x21.1cm D).

11. Cable entry: UL rated compression glands.

12. Operational voltage: 120VAC (230VAC Available) Output voltage: 24VAC.

E. Designed for the “EarthCam Control Center - Streaming Video Edition - Robotic with Mobile”
2.04 INTERFACE AND ONLINE SOFTWARE 

A. Remote Access: Contractor’s system vendor shall provide an internet based interface and online software as a managed service, to allow the viewing of all high-definition digital still images captured and stored from any location with internet access via a secure password protected website.

1. Maintain images on the system vendor’s website for reference available at all times during the life of the project and for not less than 60 days after completion.

2. All images will be protected on servers owned and operated by the system vendor and located in secure area at the system vendor’s location.

B. Online interface features shall be:

1. Software delivered by vendor as a managed service.
2. Displays company logo and project name.

3. Capable of viewing live video.
4. Robotic Pan, Tilt, Zoom control of camera system.
5. Calendar based navigation system for selecting specific images.

6. Multifunction image browsing.

7. Pan, tilt and zoom capability within a high definition image.

8. Onscreen control button for wiper control to allow remote cleaning of the viewing window.
9. A multiview screen to view all of the cameras on a project at the same time.

10. Graphical mark-up tools for detailing and creating overlays on images.
11. Graphical weather applet displaying ten points of local weather data and 48-hour forecast.
12. Remote solar monitoring screen displaying the DC amperage output of solar panels.

13. Remote battery monitoring screen displaying battery voltage, temperature and status.

14. Remote cellular monitoring screen displaying connectivity, network traffic and modem temperature.
15. Remote wireless radio monitoring screen displaying connectivity, network traffic and Google Map features including wireless radio locations.
16. Share image tools: save, print, email and post to message board or mobile devices.

17. Automated progress reports in Power Point, Open Office and PDF formats.
18. Map, aerial and satellite view by Google. 

19. Time lapse features include – Instant time lapse play back by day, week, month or year.

20. Machine to machine self-healing technology that automates maintenance of camera up to 288 times daily.
21. Account security features include – Four levels of password protection, IP address block/ permission and SSL protection of the user login password.

22. All images are the copyright of the client and protected on secure servers owned and operated by the system vendor.

PART 3 -  EXECUTION

3.01 preparatioN

A. Unpack camera system components and save packing materials (box and foam) for future shipment of camera system including associated appurtenances and mounting equipment to Owner or Manufacturer as required.

3.02 INSTALLATION

A. General:

1. Install camera system in accordance with manufacturer's printed instructions, State and Municipality codes and requirements and approved submittals.

2. Install units plumb and level and at proper angle to provide maximum field of view of on-site operations.

3. Securely and rigidly anchor products in place.

4. Connect cameras to power.

B. Position camera for unobstructed movement of the pan and tilt operation and field of view of approximately 55º horizontal and 41º vertical covers intended area of site.

1. Install camera at elevation that will provide uncompromised visual coverage.

2. Install camera so that the sun or any man made light sources will not be in the direct field of view of the camera at any time during construction.

3.03 FIELD QUALITY CONTROL

A. Pre-installation Testing: Test camera on-site at ground level prior to mounting unit in its intended   elevated position.

1. Contact the system vendor not less than 24 hours in advance of installation for testing.

2. Connect unit.

3. After 30 minutes, contact the system vendor and require system vendor to remotely confirm camera is operating properly.

4. Install cameras in approved locations.
3.04 CLEANING

A. Clean installed items using methods and materials recommended in writing by manufacturer.

B. Clean camera system components, including camera-housing windows, lenses, and monitor screens.

3.05 INSTRUCTION

A. Engage a factory-authorized service representative by phone to instruct contractor’s personnel in    procedures to adjust and maintain camera equipment.

1. Instruct personnel on procedures and schedules for troubleshooting and maintaining equipment.

2. Explain methods of determining optimum alignment and adjustment of components.

3.06 OPERATION, TERMINATION, AND REMOVAL

A. Maintenance: Maintain camera equipment in good operating condition on a 24-hour basis until removal.

B. Termination and Removal: Removal of camera system when instructed by the owner. 

1. Camera system including associated appurtenances and mounting equipment are property of Owner.
END OF SECTION


© 2010 EarthCam, Inc
 Page 3 of 3                                         
06.23.10


