EARTHCAM STREAMCAM HD ROBOTIC

PRODUCT

MANUFACTURER

EarthCam, Inc.

800.EarthCam (327.8422) toll free

201.488.1111 voice

201.488.1119 fax

84 Kennedy Street,

Hackensack, NJ 07601.

www.EarthCam.net

GENERAL DESCRIPTION

The PTZ 24/7 H.264 High Definition streaming video camera system transmits multiple, individually configured, simultaneous video streams at full frame rate. Perfect for video surveillance systems where clear images and greater detail are required.

SYSTEM REQUIRMENTS

The indoor/outdoor camera system shall consist of a weatherproof aluminum constructed housing, HD streaming camera to be mounted on a fixed pole, wall, parapet or ceiling.

The camera shall have the ability to take digital still images every 5 or 60 minutes, depending on service package, as well as provide live video.

The camera shall upload both High Definition images and video over a wireless cellular modem, a wireless point-to-point system or a RJ-45 hardwired connection to a DSL or cable modem.

The content shall be sent to a secure, password protected website with an Interface and Online Software features provided by the Vendor as a Managed Service.

The system shall operate on 120VAC and have a maximum power consumption of  65W.

EQUIPMENT

HD Camera system: H.264 streaming video camera system with live streaming video and lens assembly consisting of a charge coupled device (CMOS) camera with a remotely controlled focal lens with the following features:

Image sensor: 1/3” Progressive scan CMOS 2 Megapixel

Lens: F5.1 – 51mm, F1.8 – 2.1, Auto day/night IR filter, Autofocus

Sensitivity: Color 2 lux at 30IRE, F1.8, B/W: 0.2 lux at 30IRE, F1.8

Shutter time:1/10000s to 1/2s

Video Compression: H.264 (MPEG-4 Part 10/AVC); Motion JPEG

Resolution: HDTV 1080i 1920x1080; HDTV 720p 1280x720

Frame rate H.264: 30/25 fps in all resolutions

Frame rate Motion JPEG: 30/25 fps in all resolutions

Video streaming: Multi-stream and Motion JPEG: simultaneous, individually configured streams in max. resolution at 25/30 fps

Image settings: Compression, brightness, sharpness, white balance, exposure control, blacklight compensation, rotation, mirroring of images, Text and image overlay

Security: Password protection, IP address filtering, HTTPS encryption, IEEE 802.1X network access control, digest authentication user access log

Processor and memory: ARTPEC-3, 256 MB RAM 128MB Flash

Connectors: RJ45 10BASE_T/ 100BASE_TX PoE

Cable entry: UL rated Compression glands.

Window wiper: Remotely controlled

Weather Proof Enclosure (IP66 rated)

Operating temperature: -10°F to 120°F (-23°C to 49°C)

Camera Enclosure Dimensions: 6.3” (160mm) H x 6.9” (176mm) W x 20.2” (514mm)

Weight: 14 lbs (6.35kg).

Operating voltage: 120VAC / 230VAC 50/60hz available.

Designed for the “EarthCam Control Center - Streaming Video Edition - Fixed with Mobile Support” software.”

Pan and Tilt Robotic Base: Operator controlled movement for pan/tilt functionality, IP66-rated protection:

Pan Range	: 0° to 355° (at up to 100°/sec)

Tilt Range: +40° to -90° (at up to 40°/sec)

Preset accuracy: 0.02°

Pan/Tilt Unit Dimensions: 16.7” (424mm)H x 10.15” (258mm)W x 10.15” (258mm)D

Overall System:

Operating temperature: -10°F to 120°F (-23°C to 49°C)

Camera w/ Pan Tilt Unit Weight: 47lb (21.3kg)

Operational Voltage: 24VAC (100-240VAC 50/60Hz Available)

Maximum Power Consumption: 65W

Designed for the “EarthCam Control Center - Streaming Video Edition - Robotic with Mobile Support” software.

Optional Microphone: Weather resistant pressure zone microphone records clear, articulate sound with the following features:

1.	Transducer type: Electret condenser with frequency response between 80Hz to 10,000Hz

2.	Power Sensitivity: +8dBm/Pa

3.	Operating Temperature: -40°F to 140°F(-40°C to 60°C) *below 14°F(-10°C)microphone 	sensitivity is reduced

4.	Enclosure: Steel Plate and High Impact plastic capsule with plastic membrane.

5.	Dimensions: 4.53”L x2.78”W x1.72”D (11.5cm x 7cm x 4.4cm)

6.	Weight: 0.156 lbs (71g)

INTERFACE AND ONLINE SOFTWARE

Remote Access: Contractor’s System Vendor shall provide an internet based interface and online software as a managed service, to allow the viewing of all high-definition digital still images captured and stored and live video, from any location with internet access via a secure password protected website.

Maintain images on the System Vendor’s website for reference available at all times during the life of the project and for not less than 60 days after completion.

Online Interface Features:

Software delivered by Vendor as a Managed Service.

Displays Company logo and project name.

Capable of viewing actual live video.

Picture in Picture to view live video, while viewing high definition images.

Calendar based navigation system for selecting specific images.

Multifunction image browsing.

Pan, tilt and zoom control of camera system.

Pan, tilt and zoom control within a high-definition image.

Onscreen button for wiper control to allow remote cleaning of the viewing window.

A multi-view screen to view all of the cameras on a project at the same time.

Graphical mark-up tools for detailing and creating overlays on images.

Graphical weather applet displaying ten points of local weather data and 48-hour forecast.

Remote Solar Monitoring Screen Displaying the DC Amperage Output of Solar Panels.

Remote Battery Monitoring Screen Displaying Battery Voltage, Temperature and Status.

Remote cellular monitoring screen displaying connectivity, network traffic and modem temperature.

Remote wireless radio monitoring screen displaying connectivity, network traffic and Google Map features including wireless radio locations.

Share image tools: save, print, email and post to message board or mobile devices.

Automated progress reports in Power Point, Open Office and PDF formats.

Map, aerial and satellite view by Google.

Time lapse features include – Instant time lapse play back by day, week, month or year.

Machine to machine self-healing technology that automates maintenance of camera up to 288 times daily.

Account security features include – Four levels of password protection, IP address block/ permission and SSL protection of the user login password.

All Images are the Copyright of the Client and Protected on Secure Servers Owned and Operated by the System Vendor.

EXECUTION

3.1 -  preparatioN

A.	Unpack camera system components and save packing materials (box and foam) for future 	shipment of camera system including associated appurtenances and mounting equipment to 	Owner or Manufacturer as required.

3.2  -  INSTALLATION

A. 	General:

1.	Install camera system in accordance with manufacturer's printed instructions, State and 	Municipality codes and requirements and approved submittals.

2.	Install system plumb and level and at proper angle to provide maximum field of view of 	on-site operations.

3.	Securely and rigidly anchor products in place.

4.	Connect cameras to power.

5.	Position camera for unobstructed movement of the pan and tilt operation and field of view of 	approximately 58º horizontal and 44º vertical. Install camera at elevation that will provide 	uncompromised visual coverage.

6.     Install camera so that the sun or any man made light sources will not be in the direct field of 	view of the camera at any time during construction.

7.	Install the solar panels so that they are directly exposed to sunlight to optimize the power 	generation of the system

3.3 - FIELD QUALITY CONTROL

A.        Pre-installation Testing: Test camera on-site at ground level prior to mounting unit in its intended   	 elevated position.

1.	Contact the system vendor not less than 24 hours in advance of installation for testing.

2. 	Connect unit.

3. 	After 30 minutes, contact the system vendor and require system vendor to remotely confirm 	camera is operating properly.

4.  	Install cameras in approved locations.

3.4 – CLEANING

A.     Clean installed items using methods and materials recommended in writing by manufacturer.

B.     Clean camera system components, including camera-housing windows, lenses, and monitor screens.

3.5 – INSTRUCTION

A.      Engage a factory-authorized service representative by phone to instruct contractor’s personnel in 	procedures to adjust and maintain camera equipment.

1.   Instruct personnel on procedures and schedules for troubleshooting and maintaining equipment.

2.   Explain methods of determining optimum alignment and adjustment of components

3.6 - OPERATION, TERMINATION, AND REMOVAL

A. Maintenance: Maintain camera equipment in good operating condition on a 24-hour basis until removal.

B. Termination and Removal: Removal of camera system when instructed by the owner.

1. Camera system including associated appurtenances and mounting equipment are property of Owner.

END OF SECTION