**EarthCam StreamCam HD Dome with Audio Model # ECCS33011 A&E Specifications**

**01.32.36 Video Monitoring and Documentation**

1. **CAMERA SPECIFICATIONS**
   1. **Contractor Contact Information**

The Contractor shall provide a Robotic High Definition Megapixel Webcam for users to remotely view the project on a secure connection via a network connection. The camera will provide a full view of the work area on the construction site.

CONTACT SYSTEM VENDOR: EarthCam Inc. / Brian Cury +1 201.488.1111

Email: WWW.EARTHCAM.NET/CONTACTUS

* 1. **Camera System for Highest Precision Monitoring and Documentation**
     + 1. Consist of an IP66 weather resistant aluminum housing with an polycarbonate clear dome
       2. Dimensions: 16.38”” (416.1mm) H x 14.3” (363.2mm) W
       3. Industrial grade solid state embedded Linux System
       4. Pan/Tilt/Zoom controls with multiple preset compositions
       5. Live video stream in H.264 format
       6. 1080p broadcast quality video clip capability
       7. H.264, MPEG-4 Part 10/AVC, Motion JPEG video compression
       8. Up to 30fps in all resolutions
       9. 2.1 Megapixel images (1920 x 1080 pixels)
       10. Lens: F4.44 – 142.6mm, f/1.6 – 4.41, 32X Optical, 12X Digital zoom with endless pan angle of 360°
       11. Auto Features: Focus and Day/Night
       12. Communications: RJ-45 10BASE-T/100BASE-TX PoE
       13. 4G cellular modem
       14. Weather resistant pressure zone microphone to record clear, articulate real-time sound

Dimensions: 5” (127mm) H x 3” (76.2mm) W x 2.5” (63.5mm) D

* + - 1. 120VAC, 220-230VAC or 12VDC power
      2. Designed for EarthCam Control Center

1. **SERVICE SPECIFICATIONS**
   1. **Internet Based Online Interface**

The camera will be accessible via an internet based Software as a Service (SaaS) solution. This online interface will be managed and supported by the System Vendor. The service will be available for the term of the project and allow the viewing of live video and High Definition digital still images captured and stored of the project on both mobile and desktop platforms.

The Internet Based Online Interface shall include the following features:

* + 1. Responsive HTML5 design for cross-platform access on desktop and mobile devices
    2. Display project name and logo
    3. Project Dashboard for viewing and accessing multiple cameras
    4. Real-time live video viewing
    5. User-controllable Robotic Pan, Tilt and Zoom
    6. User-controllable settings for creating and editing multiple preset compositions
    7. Automatically generated daily panoramas
    8. Picture in picture capability for viewing live video and High Definition Megapixel images simultaneously
    9. Digital Pan, Tilt and Zoom capability within a High Definition image
    10. Instant live snapshot capability in addition to preset scheduled archives
    11. Timeline navigation system for selecting specific images and times
    12. Multifunction Image Browsing
    13. Time-lapse feature with optional time date overlay for instant time-lapse viewing, downloading and embedding
    14. Full Screen Mode for displaying video and complete image without any graphical frame
    15. Photo Filters and Graphical Markup Tools for detailing and creating notes with graphical overlays on images, including project title, logo and time date stamp
    16. Image Comparison Tool for comparing two images taken at different times, overlayed on top of each other
    17. Share Image Tool for saving, printing, emailing and posting to Hall of Fame
    18. Marketing Section for posting and sharing camera images with notes
    19. Social Media Integration Tools for sharing project images and notes on Facebook and Twitter
    20. Automatically generated daily/weekly project progress update email with camera image and weather
    21. Graphical Weather applet displaying local weather data with satellite and updating radar imaging
    22. Integration of maps, aerial and satellite imagery
    23. Graphical Data Management Tools showing archived and current system status of solar amperage, battery power remaining, wireless radio connectivity, and device location
  1. **Security and Management**
     1. Access to account protected by Account Security feature which includes four levels of password protection, IP address block/permission and SSL protection of user login password.
     2. The system shall capture and upload images every 5 minutes, 24 hours per day.
     3. The system shall have M2M – Machine to Machine 24/7 Support with active self-healing technology and automatic software upgrades to maintain the quality, consistency and reliability of all images.
     4. Images will be maintained on the System Vendor’s servers for reference available at all times during the life of the project and for no less than 60 days after completion. All images will be protected on servers owned and operated by the System Vendor and located in a secure area at the System Vendor’s location.

1. **CONTRACTOR REQUIREMENTS** 
   1. **Jobsite Requirements**

The Contractor shall secure a nearby structure for camera mounting or provide a fixed pole (40 foot / 12 meters height recommended) and 3 inch / 8 centimeters minimum diameter as per System Vendor’s instruction. The Contractor shall supply all equipment required for safe and secure access to the camera location for technicians performing installation and maintenance services, including building access, bucket truck and/or lift. The System Vendor will consult on and provide recommendations for optimal camera placement and provide professional installation services as required.

* 1. **Camera Maintenance**

The Contractor shall provide all service and maintenance, including cleaning, of the camera system throughout the life of the project including making appropriate arrangements for camera to remain in operation up to and through finalization of all structural, landscaping and “completed state” condition necessary for beginning-to-end record.

1. **DELIVERABLES** 
   1. **Public Website**

The System Vendor shall provide custom public website development. Website shall be separate from the Online Interface, match the look and colors of the project’s website, and be delivered as embed code or standalone web page. Additional features include Facebook and Twitter integration, full screen mode, image comparison, weather, multiple logos, graphical background image and project description.